# Flood

Priorities

- Control spread of water; if burst pipe, isolate water supplies at nearest source and repair

- Minimize disruption to facility

- Implement clean-up operations

Procedure

- Assess rate of water flow and likely areas to flood

- Contact Maintenance Manager

- Turn off water supply at nearest stopcock(mains if all else fails)

- Call plumbing services to repair

- Contact electrician to assess for danger of water contact with electrical sockets and equipment. Isolate power in area

- Erect temporary barricades to control spread of water (e.g. towels or linen)

- Call emergency services if scale of flood warrants

- Organize clean-up operation (if sewage consider viral infection risk)

- Take necessary steps to minimize employee and guest inconvenience and adverse hospitality

- Record separately related costs and photograph affected areas

- Advise Security, Engineering Operations, and Corporate Communications.

# Additional Suggestions

- If the property history indicates flooding or drainage failures, a supply of sandbags should be made available, to protect entrance, cellar doors or car park ramps etc.

- Consider contamination risk from sewage in flood water